## schedule
Lecture | Date | Topic | Homework | Reading | Project | Activity | Quiz
1 | Wed 20 Aug 2014 | Introduction
2 | Mon 25 Aug 2014 | Electricity Physics
3 | Wed 27 Aug 2014 | Ohm and Kirchoff Laws | Homework 0 | REEPS 2.1-2.4 |  | Power Supply Lab
4 | Wed 03 Sep 2014 | Power and Energy |  |  |  | REPL lab
5 | Mon 08 Sep 2014 | Time Value of Money |  | Luenberger 1-2 |  | Spreadsheet Lesson
6 | Wed 10 Sep 2014 | NPV IRR |  |  | Brainstorm 3 topics | Spreadsheet Lesson
7 | Mon 15 Sep 2014 | Loads | Homework 1 |  |  | Electrical Energy Inventory
8 | Wed 17 Sep 2014 | Tariffs
9 | Mon 22 Sep 2014 | Conserved cost of energy |  | Meier, 1984 |  |  | Quiz 1
10 | Wed 24 Sep 2014 | Alternating Current Theory |  | REEPS 3.1-3.2
11 | Mon 29 Sep 2014 | Wiring and Safety | Homework 2 | REEPS 2.5-2.8 | Outline | motor killawatt lab
12 | Wed 01 Oct 2014 | Inductance and Capacitance |  |  |  | ipynb demonstration reactive
13 | Mon 06 Oct 2014 | Real and Reactive Power |  | REEPS 3.3 | Outline Feedback
14 | Wed 08 Oct 2014 | Power factor |  | REEPS 3.4 |  | ipynb AC demonstrations
15 | Mon 13 Oct 2014 | GHTC Conference | Homework 3
16 | Wed 15 Oct 2014 | Three Phase Power |  | REEPS 3.5
17 | Mon 20 Oct 2014 | Lighting Physics
18 | Wed 22 Oct 2014 | Lighting Practice
19 | Mon 27 Oct 2014 | Electromagnetic Physics | Homework 4 | REEPS2 Appendix A | First draft | lighting measurements
20 | Wed 29 Oct 2014 | Transformers
21 | Mon 03 Nov 2014 | Motors |  |  | First draft feedback
22 | Wed 05 Nov 2014 | Motor Systems |  | ACEEE reading?
23 | Mon 10 Nov 2014 | Utility Grid Technology | Homework 5 | REEPS 1, 3.7 |  | motor lab
24 | Wed 12 Nov 2014 | Carbon intensity
25 | Mon 17 Nov 2014 | Optional Topics
26 | Wed 19 Nov 2014 | Optional Topics |  |  | Final Report
27 | Mon 24 Nov 2014 | Presentations
28 | Mon 01 Dec 2014 | Presentations
29 | Wed 03 Dec 2014 | Wrapup
do I have old notebooks?
do I have google spreadsheets?
2013-10-13-three phase